## Slide 1
Effective Measurement and Monitoring of Total Petroleum Hydrocarbons with Field Equipment
Patrick Tyczynski
M-I SWACO, a Schlumberger company

## Slide 2
Reduction of Hydrocarbon Concentrations in Drill Cuttings
Thermal desorption
Solvent extraction
Bioremediation
Overview | Instruments | Results | Troubleshooting

## Slide 3
Hydrocarbons
Overview | Instruments | Results | Troubleshooting

## Slide 4
Relationship Between the Lab and the Field
Optimal treatment to reach target
Variables with potential to extend process
Overview | Instruments | Results | Troubleshooting

## Slide 5
Retort - ROC
Overview | Instruments | Results | Troubleshooting

## Slide 6
INFRACAL - TPH
Overview | Instruments | Results | Troubleshooting

## Slide 7
Result Comparison
Overview | Instruments | Results | Troubleshooting

## Slide 8
Result Comparison
Overview | Instruments | Results | Troubleshooting

## Slide 9
Overview | Instruments | Results | Troubleshooting
Result Comparison
Detection Limits
Extraction Efficiency
Correlation
Sampling
Equipment and Techniques
Substrate
Calibration

## Slide 10
Sampling
Overview | Instruments | Results | Troubleshooting

## Slide 11
Sampling
Overview | Instruments | Results | Troubleshooting

## Slide 12
Equipment and Techniques
Overview | Instruments | Results | Troubleshooting

## Slide 13
Substrate
Overview | Instruments | Results | Troubleshooting

## Slide 14
Calibration
Overview | Instruments | Results | Troubleshooting

## Slide 15
Correlation
Overview | Instruments | Results | Troubleshooting

## Slide 16
Overview | Instruments | Results | Troubleshooting
Good Precision
Good Accuracy
Poor Precision
Poor Accuracy
Good Precision
Poor Accuracy
Poor Precision
Good Accuracy
Correlation
Understanding the difference between precision and accuracy

## Slide 17
Correlation
Overview | Instruments | Results | Troubleshooting

## Slide 18
Optimization
Overview | Instruments | Results | Troubleshooting

## Slide 19
Optimization
Overview | Instruments | Results | Troubleshooting

## Slide 20
Optimization
Overview | Instruments | Results | Troubleshooting

## Slide 21
Optimization
Overview | Instruments | Results | Troubleshooting

## Slide 22
Optimization
Overview | Instruments | Results | Troubleshooting