## Slide 1: Effective Treatment of Shale Oil and Gas Produced Water by Membrane Distillation Coupled with Precipitative Softening and Walnut Shell Filtration
Cristian Robbins, P.E.
Department of Civil & Environmental Engineering,
Colorado State University
10/31/2018

## Slide 2
Treatment and Reuse of Shale Oil and Gas Produced Water by Membrane Distillation
Water consumption
Wastewater production
http://sites.nicholas.duke.edu/avnervengosh/; Vidic et al., 2013, Science, 340, 1235009
Shale oil and gas wastewater: High salinity (not applicable for RO treatment), complex and hazardous (dangerous to dispose).

## Slide 3
Tong and Elimelech, 2016, Environ. Sci. Technol., 50, 6846-6855
Wastewater Treatment Options

## Slide 4
Shale oil and gas wastewater
RO
favorable
Limited by affordable
hydraulic pressure
Tong and Elimelech, 2016, Environ. Sci. Technol., 50, 6846-6855
Wastewater Treatment Options

## Slide 5
RO
favorable
Tong and Elimelech, 2016, Environ. Sci. Technol., 50, 6846-6855
Other technologies?
Wastewater Treatment Options
Shale oil and gas wastewater

## Slide 6
Hydrophobic,
microporous membrane
60-80°C
20°C
Tolerance of high salinity
Less costs than mechanical vapor compressor
Use of low-grade thermal energy
Our Core Technology – Membrane Distillation

## Slide 7
Research Endstate
An on-site and cost-effective wastewater treatment package tailored to the shale oil and gas industry
Integrated treatment process

## Slide 8
Research Endstate
An on-site and cost-effective wastewater treatment package tailored to the shale oil and gas industry
Precipitative Softening
Walnut shell filtration
Membrane distillation

## Slide 9
Treatment and Reuse of Shale Oil and Gas Produced Water by Membrane Distillation
Kondash and Vengosh, Environ. Sci. Technol. Lett. 2015, 2, 276-280
Bai and Carlson, Oil and Gas Facilities, 2016, 5 (06).

## Slide 10
Pretreatment by Precipitative Softening and Walnut Shell Filtration is Effective.

## Slide 11
Pretreatment by Precipitative Softening and Walnut Shell Filtration is Effective.
 | Before Pretreatment | After Pretreatment | Removal efficiency
Ca2+ | 878 mg/L | 601 mg/L | 32%
Alkalinity | 555 mg/L | 183 mg/L | 67%
Sr2+ | 99.7 mg/L | 55.7 mg/L | 44%
Silica | 26.1 mg/L | 11.9 mg/L | 54%
TVPH | 55.8 mg/L | 4.1 mg/L | 93%
Benzene | 9 mg/L | 0.412 mg/L | 95%
Toluene | 4.29 mg/L | 0.103 mg/L | 98%
Ethylbenzene | 0.479 mg/L | 0.009 mg/L | 98%
Xylene | 1.67 mg/L | 0.034 mg/L | 98%
Saturation index of calcite, silica, and strontianite decreased from 1.25, 0.37, and 0.62 to 0.03, -0.14, and -0.70 after pretreatment (after 80% water recovery of MD)
* TVPH: total volatile petroleum hydrocarbons

## Slide 12
Salt removal > 99.9%
Pretreatment Improved Desalination Performance of Membrane Distillation

## Slide 13
Pretreatment + Membrane Distillation Produced High-Quality Distillated Water Product
TRPH: total recoverable petroleum hydrocarbons; TVPH: total volatile petroleum hydrocarbons
Met irrigation regulation
1 – Raw Produced Water
2 – PS Only
3 – PS + WSF
4 – MD Only
5 – PS + MD
6 – PS + WSF + MD

## Slide 14
BTEX concentration after chemical coagulation + walnut shell filtration + MD meets the discharge requirement regulated by U.S. EPA
Pretreatment + Membrane Distillation Produced High-Quality Distillated Water Product

## Slide 15
MD showed exceptional membrane reusability for 3 treatment cycles:
Water Recovery > 80%, water flux decrease < 20%,
salt removal efficiency > 99.9%
Pretreatment + Membrane Distillation Resulted in Robust Membrane Performance

## Slide 16
Conclusions
Membrane distillation is a promising technology for shale oil and gas produced water treatment, but it is constrained by membrane fouling/scaling and low removal of volatile toxic compounds.
Pretreatment using precipitative softening and walnut shell filtration effectively reduced scaling potential and removed volatile organics in the produced water.
Our treatment train demonstrated exceptional salt and pollutant removal, as well as robust membrane performance.
Our treatment train has the potential to achieve cost-effective and on-site wastewater treatment systems.

## Slide 17
Acknowledgements
Dr. Tiezheng Tong
CSU
Dr. Ken Carlson,
CSU
Zuoyou Zhang,
CSU
Xuewei Du,
CSU

## Slide 18
questions?
Email: tiezheng.tong@colostate.edu
kenneth.carlson@colostate.edu
cristian.robbins@colostate.edu